## Slide 1: Segmentation of blood vessels in retinal fundus images

## Slide 4
Healthy
Hypertension damage

## Slide 5: Ophtalmoscopy

## Slide 6
Automatic segmentation
Retinal image
Segmentation

## Slide 7: Simple bar-selective filter: B-COSFIRE
Automatic configuration
Each point described by:
Rotation invariance:
f

## Slide 8: Filter application
Use a Gaussian for tolerance, std. Dev.:
Response for one point:
Multiply the shifted responses -> COSFIRE

## Slide 9: Pre-processing
Green channel
Mask
Original image

## Slide 10
Putting it all together
B-COSFIRE
Threshold

## Slide 11: Tuning parameters B-COSFIRE
σ:
ρ: The largest circle
σ0
α
Symmetric: σ = 4.8, ρ = 20, σ0 = 3, α = 0.3
Assymetric: σ = 4.4, ρ = 36, σ0 = 1, α = 0.1

## Slide 12: Segmentation performance
t = [0,1]
t TPR,FPR

## Slide 13
IOSTAR
EasyScan Optics B.V. The Netherlands

## Slide 14: Results

## Slide 15
Sensitivity of parameters
Paired T-test
Small deviation
Large performance difference
Symmetric: σ0 = 3 σ = 4.8 α = 0.3
Red: Significantly different segmentation
White: Similar segmentation

## Slide 16
Machine learning approaches
Training pase
Working phase

## Slide 17
8 hours
Single GPU
92 seconds
High-end GPU
± 10 minutes
Human
10 seconds
2 GHz CPU
Deep neural network
B-COSFIRE
AUC: .9614
AUC: .9720
>
>
>
Training/estimating
Segmenting

## Slide 18: Thank you.